DATASHEET

BU-4062-C-*

(Shrouded Right Angle Banana to Test Probe, PVC Coiled Cord)

•  Standard 4mm Shrouded Banana Plug to Test Probe with 8-32 thread.

•  Banana plug is Nickel plated beryillium copper and brass

•  Wire is 18 Coiled Cord with PVC Jacket.

Length is approximatly 2 feet (61 cm) and stretches to 9 feet (2.7 m)

• Ratings: 	1000 V,  20 Amps.

Hands free testing to 3000V.

• Colors: Designated by “*” in the part number:  Std. Colors are:

-0 black, and  -2 red

• RoHS Compliant