DATASHEET

BU-5050-B-XX-0

(Test Lead: Male BNC to Male BNC)

- Mueller’s BU-5050-B is a cable assembly with male BNC connectors on each end of an RG-58/U coaxial cable.

- Material:	BNC body		Silver-plated

BNC contact		Gold-plated center conductor

- Rating:	Impedance		50 Ohms

Voltage		Hands-free testing to 500 VRMS

- Length: The “XX” in the part number indicates length in inches.

Standard lengths:	12”, 24”, 36”, 48”, 60”, 120”

(other lengths available upon request)

- RoHS 3 compliant, exemption 6c