DATASHEET

BU-P5223-@

(Triaxial Cable Assembly, Male Both Ends)

- BU-P5223 is a triaxial cable assembly with a male BNC connector at each end.

- Made with a Belden 9222 double shielded triaxial cable for use in high interference areas.

- Material:	Triaxial cable male		BNC, 3 lug bayonet style

Finish				Tarnish-resistant brass

Center contacts		Gold-plated

Cable	insulation		Polyethylene

- Ratings:	Operating Voltage		500 VRMS/DC

Impedance, cable		50 Ohms

- The “@” in the model number represents the overall length in inches. Standard lengths are: 36”, 60”